## 1.- Intro - Index
Questionnaire: HVDC Biscay Gulf Interconnection |  |  | Closing date for the questionary answers submission : | 11th April 2018
Applicant: |  | please enter name of applicant
NOTE: The Applicant Name entered here shall autopopulate the rest of this document
INTRODUCTION & INDEX
This File contains the following Sections:
Section 1: Intro
Section 2: Organisation supply chain
Section 3: BoD and performances
Section 4: Civil Works & Buildings
Section 5: Testing & Commissioning
Section 6: Maintenance & Replica
Applicants are required to answer the questionnaire in a specific, clear and concise/succinct way for basis of our discussions during supplier event
(please do not include sales or marketing information / brochures).

## 2.- Organisation supply chain
Questionnaire: HVDC Biscay Gulf Interconnection
Applicant: | please enter name of applicant
Ref. | Topics | Answers
S.2.1 | Contacts
S.2.2 | Company key figures
S.2.3 | Describe your HVDC experience focusing maganagement of multicultural projects
S.2.4 | What is the typical timescale of the different stages for a HVDC station delivery (tender offer, detailed design, construction, FAT, Commissioing)?
S.2.5 | Working hours compatible with European time zone?
S.2.6 | Location of the engineers who will develop the system?
S.2.7 | Typical supply chain organisation for the HVDC projects
S.2.8 | Management of INELFE's data during the project (secure areas / encrypted mail / password management…)
S.2.9 | Documentation exchange and management : how do you usually proceed ?
S.2.10 | How do you cope with H&S throughout the HVDC station project? Could you give us examples of H&S enhancement on one particular project?

## 3.- BoD and performances
Questionnaire: HVDC Biscay Gulf Interconnection
Applicant: | please enter name of applicant
Ref. | Topics | Answers
S.3.1 | Short Circuit Ratio: is there any minimum value of SCR for the VSC converter? If yes, please provide the reference value and the malfunction expected.
S.3.2 | P/Q capability: Please indicate usual power ratings of the converter station in terms of P/Q capability as a function of AC voltage.
S.3.3 | Energy availability: Please indicate your standard energy availability (FEU and SEU) and FOR of the link (%) both for 2 links and one link basis? How do you perform RAM studies?
S.3.4 | Standards Which standards are you compliant with for the HV equipment, LV devices, communication between devices, cybersecurity, quality management
S.3.5 | P/Q capability: What is the maximum active power you can provide for symmetrical monopole on 320kV, 400kV and 525 kV respectively
S.3.6 | Overload capability: ''Please provide the overload capability that your equipment can withstand.
S.3.7 | Overload capability:is your converter technology compatible with permanent overload requirements in case ambient temperature (outside the valves) decrease.
S.3.8 | Overload capability: How long can the link be temporally overloaded? Would it affect to the reactive generation/consumption capacity of the converters?
S.3.9 | Dynamic performance: Having a Half Bridge converter, what is the minimum reclosing time do you expect after a fault in a DC overhead section (assuming a small overhead line of around 10 km and a long cable of around 240 km)?
S.3.10 | Dynamic performance: after tripping of the converter station due to an external perturbation, is there any delay before being able to connect it back to the network?
S.3.11 | Dynamic performance:'In case of internal DC faults (inside the converter or in the cable), is there any risk in your technology of travelling waves with inversion of the voltage? If yes, please explain the solution needed.
S.3.12 | 'Dynamic performance:After the disconnection of the converter (without fault), does the converter station need any waiting time before the following energization? Minimum time required in that case.
S.3.13 | Fault ride through capability of the converter. What is the value of the current the converter is able to inject during a zero voltage fault in phase, phase ground, double phase, double phase ground and three phase faults? The expected required FRT profile of the converter station is represented in the following diagram: If the converter blocks, please indicate the expected time until the HVDC revovers its prefault P and Q values.
S.3.14 | Fault ride through capability: What are the conditions that make the converter block? What make them deblock and in what period of time? Same questions for a converter trip.
S.3.15 | Frequency control: Are you familiar with frequency control implementation? How do you proceed to test this controller on site?
S.3.16 | Frequency control: Please, indicate the usual rate-of-change-of-frequency (Hz/s) for which the converter station remains stable and operable.
S.3.17 | Frequency control: 'Please indicate for different frequencies deviations from a nominal value (50 Hz) the maximum time: a) without blocking, b) without disconnecting from the network and c) without active power output reduction.
S.3.18 | Black start control: Do you have any experience (name of projects and info of the control) in performing black-start controls?
S.3.19 | Black start control:'What data do you need from the TSO to be able to implement blackstart? What is the cost impact of including it in the controller?
S.3.20 | Reactive power control: Please indicate maximum Q ramp rate (Mvar/s).
S.3.21 | Reactive power control: Please provide the usual U-Q/Pmax profile of the converter stations.
S.3.22 | Voltage control: 'Please indicate the maximum and minimum voltage ratings (kV & time) under which the converter station can operate a) without blocking, b) without disconnecting from the network and c) without active/reactive power output reduction.
S.3.23 | Voltage control: 'Are you familiar with Secondary voltage control?
S.3.24 | Interactions: What is your view of interactions between nearby HVDC controllers, or between SVC and HVDC? Have you ever study it and what did you implement to avoid it?
S.3.25 | Interactions: interaction between HVDC systems: Do you have any experience (name of projects and info of the control) in performing any kind of control to avoid interactions between close HVDC links, HVDC and FACTs or HVDC and Full converter WPP?
S.3.26 | Losses: Please indicate the expected losses per a Half Bridge converter (per link and nominal active and reactive power).
S.3.27 | Losses:'Please give an estimation of the Switching Losses in semiconductor devices for a 1000MW transit in one HVDC converter
S.3.28 | Auxiliary: 'Please give an estimation of the required power needed to supply the auxiliary system (HVAC, cooling pumps, etc…)
S.3.29 | Auxiliary: What are you maximum auxiliary power needs during the construction of the station, for commissioining and for the normal operation? During operation do you need external supply or can the teriary winding of the transformer from both links be enough.
S.3.30 | Active power control: 'Please indicate maximum P ramp rate (MW/s).
S.3.31 | Active power control: Do you have any experience (name of projects and info of the control) in performing adaptative and automatic active power controls (e.g. AC emulation line)? Regarding adaptative and automatic active power controls, which kind of development do you have (angle difference control or with other different variables)? Please provide information about every development you have.
S.3.32 | POD control: 'Explanation of POD-P and POD-Q (including POD-PQ) developed in the control system.
S.3.33 | POD control: Do you have any experience with POD-P while using an adaptative and automatic active power control (e.g. AC emulation line)?
S.3.34 | POD control: Do you have experience with POD-P POD-Q change of limit ranges depending on oscillation detection?
S.3.35 | Synthetic inertia: Do you have any experience about the provision of synthetic inertia with the converter stations?
S.3.36 | Power Quality: 'In order to accomplish IEC/TR 61000-3-6 indicative planning levels for harmonic voltages at EHV network (considering no background harmonics), do you expect the need of harmonic filters?
S.3.37 | Protection system: For hvdc performance and control short circuit studies is necessary to know the reaction of protection functions for different types of faults out of HVDC. Please provide information.
S.3.38 | Protection system: Fault location functionality . Please provide information In the case of possible hybrid DC line arrangement is finally decided (underground+OHL), is there any option to determine if faults appeared on the underground or overhead section? This issue is mainly related to the autoreclouse function when the fault is on the OHL section...
S.3.39 | Protection and Control: Are protection and control involved devices independent? Protection and control systems should be as independent as possible. Please provide information
S.3.40 | Protection and Control: 'Time synchronization requirements? Is time synchronization a critical issue for the converter P&C systems? Please provide information
S.3.41 | Monitoring System: Monitoring of the different elements (condition monitoring that provide Condition Based Maintenance strategies) . Prot&Control: IED's behaviour. Local and remote access to the different logics and data values is interesting. Transformer and primary equipment. Please provide information
S.3.42 | Station equipment: what are the key design principles of the transformer and the converter valves? Which technical requirements have a high impact on converter economics
S.3.43 | Station equipment: AC Breaker'Is there any requirement for the AC breakers? (point on wave, speed, number of coils, etc)
S.3.44 | VSC Topologies: Based on your experience and state of the art of your technology, which topologies (symmetrical monopole/bipole/etc) would you recommend for a rated power of 2.000 MW (1.000 MW per link) considering three different voltage levels: a) 320kV b) 400 kV and c) 525 kV, taking in mind technological limits for the cables and the constraints in case of fault in one cable for the HV equipment insulation coordination, provide advantages/disadvantages.
Balanced faults
UnBalanced faults

## 4.- CW & Buildings
Questionnaire: HVDC Biscay Gulf Interconnection
Applicant: | please enter name of applicant
Ref. | Topics | Answers
S.4.1 | What is the typical footprint of a 2 GW symmetrical monopole (including landscaping, tracks, drainage basin, storage areas) assuming 3 possible cases 320 kV, 400 kV or 525 kV
S.4.2 | What are the typical dimensions (length, width and height) of your valves buildings assuming 3 possible cases 320 kV, 400 kV or 525 kV
S.4.3 | What is the minimal achievable height of your buildings for 3 possible cases 320 kV, 400 kV or 525 kV. How would this impact the footprint
S.4.4 | Do you usually contract with an architect to deal with landscaping matters?
S.4.5 | Noise issues : how do you manage to reduce the noise emergence of your installation. Any experience on that ?
S.4.6 | Please describe the organisation you would implement in order to allow INELFE to submit Building Permits to local authorities at the latest 4 months after Contract Award.

## 5.- Testing & Commissioning
Questionnaire: HVDC Biscay Gulf Interconnection
Applicant: | please enter name of applicant
Ref. | Topics | Answers
S.5.1 | What is your view of the Commissioning duration and what does it include?
S.5.2 | Where are located your laboratories for the testing (HV and C&P equipement) ?
S.5.3 | Do you have a demonstrator and what is its rated power?
S.5.4 | Which software is used for the simulation? For the protections and dynamic performance tests? Do you make real-time simulations?
S.5.5 | How do you manage the multi-versioning during the development and the tests?

## 6.- Maintenance & Replica
Questionnaire: HVDC Biscay Gulf Interconnection
Applicant: | please enter name of applicant
Ref. | Topics | Answers
S.6.1 | Please give an estimation of the required delay before one can enter the converter hall after it has been stopped and put to earth (discharge time of the converter capacitors, DC cables, etc…)
S.6.2 | Please give an estimation of the required manpower needed for preventive maintenance of the converter station over one year of operation. Please specify the average duration of an annual (or bi-annual) outage for preventive maintenance.
S.6.3 | How do you plan to meet the maintenance requirements over 20 years ? What is your organisation toward spare parts?
S.6.4 | How do you manage the obsolescence in the control system ?
S.6.5 | How do you ensure that during the warranty period, there is a remote technical support providing a technical support for maintenance level 3 and 4 of experts and ensuring a direct line. Can you manage support in Spanish and French?
S.6.6 | The supplier has to supply maintenance tools and trainings in order to allow INELFE to perform intervention necessary for the maintenance level 1, 2, 3 and 4 (AFNOR standard) without intervention of the supplier. Can you ensure this?
S.6.7 | INELFE must be able alone : o to change all configuration data and protections settings o to put on/off functions (soft) / to insulate individually all equipment of the control system (hard) o to archive/restore all the data / to upgrade the software / to replace the faulty devices o to work as much as possible from a remote access Can you ensure this?
S.6.8 | How many mandays per year are required for the preventive maintenance on the control system ?
S.6.9 | Have you delivered a control system replica before?
S.6.10 | We expect the contractor to deliver and install replicas of the control system several month in advance of the commissioning. Can you ensure this?
S.6.11 | Requirements on models : INELFE will requireControl and Protection model for phaseor and EMT tools for performing own studies during the different stages of the projet. Can you ensure this?
S.6.12 | Location of your main entities for on-line / on-site support (especially during the warranty period)?
S.6.13 | Location of the nearest maintenance factory? What is the typical delay for on site expert support?